## Mixed_Elements
Part | Size | Location | #ID | Model Number | Attribute 1 | Attribute 2
Taper Transition | WR 12 -10 | D3*5 | 1
Taper Transition | WR 12 -10 | D3*5 | 2
Taper Transition | WR 15 -12 | D3*5 | 1
Taper Transition | WR 15 -12 | D3*5 | 2
Isolator | WR12 | D3*5 | 1
Isolator | WR12 | D3*5 | 2
Divider | WR12 | D3*5 | 1 |  | 2WAY
Divider | WR12 | D3*5 | 2 |  | 2WAY
Divider | WR12 | D3*5 | 3 |  | 2WAY
Divider | WR12 | D3*5 | 4 |  | 2WAY
Power Amplifier | WR12 | D3*5 | 1
Low Noise Amplifier | WR12 | D3*5 | 1
Active x6 Multiplier | WR12 | D3*5 | 1
Circulator | WR12 | D3*5 | 1
Waveguide Magic Tee | WR12 60:90 | D3*5 | 1
Phase Shifter | WR12-18:12 | D3*5 | 1
Passive x2 Multiplier | 28SF | D3*5 | 1
Passive Multiplier | 1222F | D3*5 | 1
Band Pass Filter | WR12 | D3*5 | 1
Band Pass Filter | WR12 | D3*5 | 2
Quadrature Mixer | WR12 | D3*5 | 1

## Waveguide_Twist
Part | Width | Location | #ID | Length | Attribute 2
Waveguide Twist | WR6 | D3*6 | 1
Waveguide Twist | WR6 | D3*6 | 2
Waveguide Twist | WR03-90 | D3*6 | 1 | 1"
Waveguide Twist | WR03-90 | D3*6 | 2 | 1"
Waveguide Twist | WR6-90 | D3*6 | 1
Waveguide Twist | WR6-90 | D3*6 | 2

## Waveguide_Sections
Part | Width | Location | #ID | Lenght | Type
Waveguide Section | WR12 | D3*5 | 1 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 2 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 3 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 4 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 5 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 6 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 7 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 8 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 9 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 10 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 11 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 12 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 13 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 14 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 15 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 16 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 17 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 18 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 19 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 20 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 21 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 22 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 23 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 24 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 25 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 26 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 27 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 28 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 29 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 30 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 31 | 4" | Straight
Waveguide Section | WR12 | D3*5 | 1 | 1.4" | Straight
Waveguide Section | WR12 | D3*5 | 2 | 1.4" | Straight
Waveguide Section | WR12 | D3*5 | 3 | 1.4" | Straight
Waveguide Section | WR12 | D3*5 | 4 | 1.4" | Straight
Waveguide Section | WR12 | D3*5 | 1 | 3"
Waveguide Section | WR12 | D3*5 | 2 | 3"
Waveguide Section | WR12 | D3*5 | 1 | 2"
Waveguide Section | WR12 | D3*5 | 2 | 2"
Waveguide Section | WR12 | D3*5 | 3 | 2"
Waveguide Section | WR12 | D3*5 | 4 | 2"
Waveguide Section | WR12 | D3*5 | 5 | 2"
Waveguide Section | WR12 | D3*5 | 6 | 2"
Waveguide Section | WR6 | D3*6 | 1 | 1.25"
Waveguide Section | WR6 | D3*6 | 2 | 1.25"
Waveguide Section | WR6 | D3*6 | 1 | 1.5"
Waveguide Section | WR6 | D3*6 | 2 | 1.5"
Waveguide Section | WR6 | D3*6 | 1 | 1.5"
Waveguide Section | WR5 | D3*6 | 1 | 1"
Waveguide Section | WR5 | D3*6 | 2 | 1"
Waveguide Section | WR03 | D3*6 | 1 | 1.25"
Waveguide Section | WR03 | D3*6 | 2 | 1.25"
Waveguide Section | WR03 | D3*6 | 1 | 1"
Waveguide Section | WR03 | D3*6 | 2 | 1"
Waveguide Section | WR6 | D3*6 | 1 |  | Twist
Waveguide Section | WR6 | D3*6 | 2 |  | Twist
Waveguide Section | WR03-90 | D3*6 | 1 | 1" | Twist
Waveguide Section | WR03-90 | D3*6 | 2 | 1" | Twist
Waveguide Section | WR6-90 | D3*6 | 1 |  | Twist
Waveguide Section | WR6-90 | D3*6 | 2 |  | Twist

## Antennas
Part | Diameter | Location | #ID | Gain | Freq Range
Standard Gain Horn Antenna | WR12 | D3*5 | 1 | 24 dbi
Standard Gain Horn Antenna | WR12 | D3*5 | 2 | 24 dbi
Standard Gain Horn Antenna | WR12 | D3*5 | 3 | 24 dbi
Standard Gain Horn Antenna | WR12 | D3*5 | 4 | 24 dbi
Standard Gain Horn Antenna | WR12 | D3*5 | 5 | 24 dbi
Standard Gain Horn Antenna | WR03 | D3*6 | 1 | 24 dbi
Standard Gain Horn Antenna | WR03 | D3*6 | 2 | 24 dbi
Rectangular Gain Horn Antenna | WR12 | D3*5 | 1
Rectangular Gain Horn Antenna | WR12 | D3*5 | 2
Gain Horn Antenna | WR06 | D3*6 | 1 | 24 dbi
Gain Horn Antenna | WR06 | D3*6 | 2 | 24 dBi
Keysight Antenna | WR12 | D3*5 | 1 | 21 dBi

## Adapters
part | Model Number | Location | #ID | Port A | Port A Gender | Port B | Port B Gender | Status
V Band Adapter | 15VF-E1-WP | D3*5 | 1
V Band Adapter | 15VF-E1-WP | D3*5 | 2
E Band Adapter | SWC-121M-R1-WP | D3*5 | 1 |  |  |  |  | Defect
E Band Adapter | SWC-121M-R1-WP | D3*5 | 2 |  |  |  |  | Defect
Adapter | SWC-121F-E1 | D3*5 | 1
Adapter | SWC-121F-E1 | D3*5 | 2
Adapter | SWC-121F-E1 | D3*5 | 3
Adapter | SWC-121F-E1 | D3*5 | 4
Adapter | SWC-121F-E1 | D3*5 | 5
Adapter | SWC-121F-E1 | D3*5 | 6
Adapter | SWC-121F-E1 | D3*5 | 7
Adapter | SWC-121F-E1 | D3*5 | 8
Adapter | SWC-121F-E1 | D3*5 | 9
Adapter | SWC-121F-E1 | D3*5 | 10
Adapter | SWC-121F-E1 | D3*5 | 11
Adapter | SWC-121F-E1 | D3*5 | 12
End Launch Adapter | WR28 | D3*5 | 1

## Couplers
Part | Size | Location | #ID | Coupling | Directivity
Coupler | WR12 BI | D3*5 | 1 | 20 dB | Bi-directional
Coupler | WR12 BI | D3*5 | 2 | 20 dB | Bi-directional
Coupler | WR12 | D3*5 | 1 | 3 dB
Coupler | WR12 | D3*5 | 2 | 3 dB
Coupler | WR12 | D3*5 | 3 | 3 dB
Coupler | WR12 | D3*5 | 4 | 20 dB
Coupler | WR12 | D3*5 | 5 | 20 dB
Coupler | WR12 | D3*5 | 6 | 20 dB
Coupler | WR12 | D3*5 | 1 |  | Dual Directional
Coupler | WR06 | D3*6 | 1 | 20 dB
Coupler | WR06 | D3*6 | 2 | 20 dB
Coupler | WR03 | D3*6 | 1 | 20 dB
Coupler | WR03 | D3*6 | 2 | 20 dB

## Bends
Part | Size | Location | #ID | Angle | Diameter
E Bend | WR12 | D3*5 | 1 | 30 | 0.75"
E Bend | WR12 | D3*5 | 2 | 30 | 0.75"
E Bend | WR12 | D3*5 | 1 | 45 | 0.75"
E Bend | WR12 | D3*5 | 2 | 45 | 0.75"
E Bend | WR12 | D3*5 | 3 | 45 | 0.75"
E Bend | WR12 | D3*5 | 4 | 45 | 0.75"
E Bend | WR12 | D3*5 | 5 | 45 | 0.75"
E Bend | WR12 | D3*5 | 6 | 45 | 0.75"
E Bend | WR12 | D3*5 | 1 | 90 | 1"
E Bend | WR12 | D3*5 | 2 | 90 | 1"
E Bend | WR12 | D3*5 | 3 | 90 | 1"
E Bend | WR12 | D3*5 | 1 | 90 | 0.75"
E Bend | WR12 | D3*5 | 2 | 90 | 0.75"
E Bend | WR12 | D3*5 | 3 | 90 | 0.75"
E Bend | WR12 | D3*5 | 4 | 90 | 0.75"
H-Bend | WR12 | D3*5 | 1 | 90 | 1"
H-Bend | WR12 | D3*5 | 2 | 90 | 1"
H-Bend | WR12 | D3*5 | 3 | 90 | 1"
H-Bend | WR12 | D3*5 | 4 | 90 | 1"
H-Bend | WR12 | D3*5 | 5 | 90 | 1"
H-Bend | WR12 | D3*5 | 6 | 90 | 1"
H-Bend | WR12 | D3*5 | 7 | 90 | 1"
H-Bend | WR12 | D3*5 | 8 | 90 | 1"
H-Bend | WR12 | D3*5 | 9 | 90 | 1"
H-Bend | WR12 | D3*5 | 10 | 90 | 1"
H-Bend | WR12 | D3*5 | 11 | 90 | 1"
H-Bend | WR12 | D3*5 | 12 | 90 | 1"
H-Bend | WR12 | D3*5 | 13 | 90 | 1"
H-Bend | WR12 | D3*5 | 1 | 90 | 0.75"
H-Bend | WR12 | D3*5 | 2 | 90 | 0.75"
H-Bend | WR12 | D3*5 | 3 | 90 | 0.75"
H-Bend | WR12 | D3*5 | 4 | 90 | 0.75"
H-Bend | WR12 | D3*5 | 5 | 90 | 0.75"
H-Bend | WR12 | D3*5 | 6 | 90 | 0.75"
H-Bend | WR12 | D3*5 | 7 | 90 | 0.75"
H-Bend | WR12 | D3*5 | 8 | 90 | 0.75"
E-Bend | WR6 | D3*6 | 1 | 90 | 0.75"
E-Bend | WR6 | D3*6 | 2 | 90 | 0.75"
E-Bend | WR6 | D3*6 | 3 | 90 | 0.75"
E-Bend | WR6 | D3*6 | 4 | 90 | 0.75"
E-Bend | WR3 | D3*6 | 1 | 90 | 0.75"
E-Bend | WR3 | D3*6 | 2 | 90 | 0.75"
E-Bend | WR3 | D3*6 | 3 | 90 | 0.75"
E-Bend | WR3 | D3*6 | 4 | 90 | 0.75"
E-Bend | WR3 | D3*6 | 5 | 90 | 0.75"
E-Bend | WR3 | D3*6 | 6 | 90 | 0.75"
H-Bend | WR3 | D3*6 | 1 | 90 | 0.75"
H-Bend | WR3 | D3*6 | 2 | 90 | 0.75"

## Cables
Parts | Size | Location | #ID | Length | Port A | Port A Gender | Port B2 | Port B Gender
R&S HF-Cable | 3.5mm(F)-3.5mm(M) | D2*2 | 1 | 36" | 3.5 mm | Female | 3.5 mm | Male
R&S HF-Cable | 3.5mm(F)-3.5mm(M) | D2*2 | 2 | 36" | 3.5 mm | Female | 3.5 mm | Male
R&S HF-Cable | 3.5mm(F)-3.5mm(M) | D2*2 | 3 | 36" | 3.5 mm | Female | 3.5 mm | Male
R&S HF-Cable | 2.92mm(M)-2.92mm(M) | D2*2 | 1 | 36" | 2.92 mm | Male | 2,92 mm | Male
R&S HF-Cable | 1.85mm(F)-1.85mm(M) | D2*2 | 1 | 24" | 1.85 mm | Female | 1,85 mm | Male
R&S HF-Cable | 1.85mm(F)-1.85mm(M) | D2*2 | 2 | 24" | 1.85 mm | Female | 1,85 mm | Male
R&S HF-Cable | 1.85mm(F)-1.85mm(M) | D2*2 | 3 | 24" | 1.85 mm | Female | 1,85 mm | Male
R&S HF-Cable | 1.85mm(F)-1.85mm(M) | D2*2 | 4 | 24" | 1.85 mm | Female | 1,85 mm | Male
H+S Cable SF550S | 11SK/21SK 2.92mm(MF) | D2*2 | 1 | 1500mm
H+S Cable SF550S | 11SK/21SK 2.92mm(MF) | D2*2 | 2 | 1500mm
H+S Cable SF550S | 11SK/21SK 2.92mm(MF) | D2*2 | 3 | 1500mm
H+S Cable SF550S | 11SK/21SK 2.92mm(MF) | D2*2 | 4 | 1500mm
H+S Cable SF550S | 11SK/21SK 2.92mm(MF) | D2*2 | 5 | 1500mm
H+S Cable SF550S | 11SK/21SK 2.92mm(MF) | D2*2 | 6 | 1500mm
H+S Cable SF540S | 11SK/11SK 2.92mm(MM) | D2*2 | 1 | 36"
H+S Cable SF540S | 11SK/11SK 2.92mm(MM) | D2*2 | 2 | 36"
H+S Cable SF540S | 11SK/11SK 2.92mm(MM) | D2*2 | 3 | 36"
H+S Cable SF540S | 11SK/11SK 2.92mm(MM) | D2*2 | 4 | 36"
Eravant VNA Cable | 1.85mm(F)-1.85mm(M) | D2*2 | 1 | 38" | 1.85 mm | Female | 1.85 mm | Male
Eravant VNA Cable | 1.85mm(F)-1.85mm(M) | D2*2 | 2 | 38" | 1.85 mm | Female | 1.85 mm | Male
Eravant VNA Cable | 1.85mm(F)-1.85mm(M) | D2*2 | 3 | 38" | 1.85 mm | Female | 1.85 mm | Male
Eravant VNA Cable | 1.85mm(F)-1.85mm(M) | D2*2 | 4 | 38" | 1.85 mm | Female | 1.85 mm | Male
Eravant VNA Cable | 1.85mm(F)-1.85mm(M) | D2*2 | 5 | 38" | 1.85 mm | Female | 1.85 mm | Male
TOTOKU TSF 119 Cable | 1mm(M)-1mm(M) | D2*1 | 1 | 200mm | 1 mm | Male | 1 mm | Male
TOTOKU TSF 119 Cable | 1mm(M)-1mm(M) | D2*1 | 2 | 200mm | 1 mm | Male | 1 mm | Male
TOTOKU TSF 119 Cable | 1mm(M)-1mm(M) | D2*1 | 3 | 200mm | 1 mm | Male | 1 mm | Male
TOTOKU TSF 119 Cable | 1mm(M)-1mm(M) | D2*1 | 4 | 200mm | 1 mm | Male | 1 mm | Male
TOTOKU TSF 119 Cable | 1mm(M)-1mm(F) | D2*1 | 1 | 200mm | 1 mm | Male | 1 mm | Female
TOTOKU TSF 119 Cable | 1mm(M)-1mm(F) | D2*1 | 2 | 200mm | 1 mm | Male | 1 mm | Female
TOTOKU TSF 119 Cable | 1mm(M)-1mm(F) | D2*1 | 3 | 200mm | 1 mm | Male | 1 mm | Female
TOTOKU TSF 119 Cable | 1mm(M)-1mm(F) | D2*1 | 4 | 200mm | 1 mm | Male | 1 mm | Female
CRYSTEK RA/SMA | (M)-(M) | D2*3 | 1 | 72" |  | Male |  | Male
CRYSTEK RA/SMA | (M)-(M) | D2*3 | 2 | 72" |  | Male |  | Male
CRYSTEK RA/SMA | (M)-(M) | D2*3 | 3 | 72" |  | Male |  | Male
CRYSTEK RA/SMB | 2.92mm(M)-SMB(F) | D2*3 | 1 | 24" | 2.92 mm | Male | SMB | Female
SMA/UFL | SMA(F) | D2*3 | 1 | 4"
SMA/UFL | SMA(F) | D2*3 | 2 | 4"
Amphenol Time RF Cable | 2.92 M-F | D2*2 | 1 | 76.2 cm |  | Male |  | Female
Tensolite Coaxial Cable | SMA M-M | D2*4 | 1 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 2 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 3 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 4 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 5 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 6 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 7 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 8 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 9 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 10 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 11 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 12 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 13 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 14 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 15 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 16 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 17 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 18 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 19 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 20 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 21 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 22 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 23 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 24 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 25 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 26 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 27 | 100cm |  | Male |  | Male
Tensolite Coaxial Cable | SMA M-M | D2*4 | 28 | 100cm |  | Male |  | Male
Intercond Coaxial Cable | SMA M-M | D2*4 | 1 | 100cm |  | Male |  | Male
Intercond Coaxial Cable | SMA M-M | D2*4 | 2 | 100cm |  | Male |  | Male
Rosenberger RF cable | SMA M-M | D2*4 | 1 | 100cm |  | Male |  | Male
Rosenberger RF cable | SMA M-M | D2*4 | 2 | 100cm |  | Male |  | Male
Rosenberger RF cable | SMA M-M | D2*4 | 3 | 100cm |  | Male |  | Male
Mini-Circuits SMA cable | SMA M-M | D2*4 | 1 | 2 Feet |  | Male |  | Male
Mini-Circuits SMA cable | SMA M-M | D2*4 | 2 | 2 Feet |  | Male |  | Male
Tensolite SMA cable | M-M | D2*4 | 1 | 9.2 Inches |  | Male |  | Male
Tensolite SMA cable | M-M | D2*4 | 2 | 9.2 Inches |  | Male |  | Male
Tensolite SMA cable | M-M | D2*4 | 3 | 9.2 Inches |  | Male |  | Male
Tensolite SMA cable | M-M | D2*4 | 4 | 9.2 Inches |  | Male |  | Male
Tensolite SMA cable | M-M | D2*4 | 5 | 9.2 Inches |  | Male |  | Male
Tensolite SMA cable | M-M | D2*4 | 1 | 4.6 Inches |  | Male |  | Male
Tensolite SMA cable | M-M | D2*4 | 2 | 4.6 Inches |  | Male |  | Male
Tensolite SMA cable | M-M | D2*4 | 3 | 4.6 Inches |  | Male |  | Male
Tensolite SMA cable | M-M | D2*4 | 4 | 4.6 Inches |  | Male |  | Male
Tensolite SMA cable | M-M | D2*4 | 5 | 4.6 Inches |  | Male |  | Male
Tensolite SMA cable | M-M | D2*4 | 6 | 4.6 Inches |  | Male |  | Male
Tensolite SMA cable | M-M | D2*4 | 7 | 4.6 Inches |  | Male |  | Male

## Attenuators
Part | Size | Location | #ID | MODEL NUMBER | Attribute 1 | Attribute 2
ATTENUATOR | WR12 | D3*5 | 1 |  | 10
ATTENUATOR | WR12 | D3*5 | 2 |  | 10
ATTENUATOR | WR12 | D3*5 | 3 |  | 10
ATTENUATOR | WR 12 | D3*5 | 1 |  | 6
ATTENUATOR | WR 12 | D3*5 | 2 |  | 6
ATTENUATOR | WR 12 | D3*5 | 3 |  | 6
ATTENUATOR | WR12 | D3*5 | 1 |  | 3
ATTENUATOR | WR12 | D3*5 | 2 |  | 3
ATTENUATOR | WR12 | D3*5 | 3 |  | 3
ATTENUATOR | WR12 | D3*5 | 1 |  | 20
ATTENUATOR | WR12 | D3*5 | 2 |  | 20
ATTENUATOR | WR12 | D3*5 | 1 |  | 30
ATTENUATOR | WR12 | D3*5 | 2 |  | 30
VOLTAGE CONTROLLED ATTENUATOR | WR12 | D3*5 | 1 | SKA-7138633030-1212-AP
VOLTAGE CONTROLLED ATTENUATOR | WR12 | D3*5 | 2 | SKA-7138633030-1212-AP
VOLTAGE CONTROLLED ATTENUATOR | WR12 | D3*5 | 3 | SKA-7138633030-1212-AP
COMPACT ATTENUATOR | E BAND12 | D3*5 | 1 |  | 20
COMPACT ATTENUATOR | E BAND12 | D3*5 | 2 |  | 20
COMPACT ATTENUATOR | E BAND12 | D3*5 | 1 |  | 10
COMPACT ATTENUATOR | E BAND12 | D3*5 | 2 |  | 10
COMPACT LEVEL SETTING ATT. | WR12 | D3*5 | 1
COMPACT LEVEL SETTING ATT. | WR12 | D3*5 | 2

## Termination_Load
Part | Size | Location | #ID | Attribute 1 | Attribute 2
Termination Load | WR12 | D3*5 | 1
Termination Load | WR12 | D3*5 | 2
Termination Load | WR12 | D3*5 | 3
Termination Load | WR12 | D3*5 | 4
Termination Load | WR12 | D3*5 | 5
Termination Load | WR12 | D3*5 | 6
Termination Load | WR12 | D3*5 | 7
Termination Load | WR12 | D3*5 | 8
Termination Load | WR12 | D3*5 | 9
Termination Load | WR12 | D3*5 | 10
Termination Load | WR03 | D3*6 | 1
Termination Load | WR06 | D3*6 | 1